## Sheet1
Table 1 | [6 empty] | table 3
Five zone with HVAC only considering ambient temperature | [6 empty] | Two zone with HVAC and extra factors
|  | SPACE 1 | SPACE 2 | SPACE 3 | SPACE 4 | SPACE 5 |  |  | SPACE 1 | SPACE 2
Testing | Relative RMS Error | 0.015 | 0.0165 | 0.0138 | 0.0136 | 0.012 | Testing | Relative RMS Error | 0.0021 | 0.0022
| Max Relative Error | 0.0879 | 0.0825 | 0.0958 | 0.0927 | 0.09 |  | Max Relative Error | 0.0128 | 0.0144
| Absolute RMS Error | 0.3078 | 0.3372 | 0.2752 | 0.2739 | 0.2482 |  | Absolute RMS Error | 0.0476 | 0.0488
| Max Absolute Error | 1.878 | 1.7701 | 2.0544 | 1.9978 | 1.9546 |  | Max Absolute Error | 0.2959 | 0.3235
Validation | Relative RMS Error | 0.0267 | 0.029 | 0.0187 | 0.0199 | 0.0166 | Validation | Relative RMS Error | 0.0041 | 0.006
| Max Relative Error | 0.151 | 0.1868 | 0.1438 | 0.1463 | 0.1375 |  | Max Relative Error | 0.0214 | 0.0229
| Absolute RMS Error | 0.5707 | 0.6267 | 0.3874 | 0.4157 | 0.3538 |  | Absolute RMS Error | 0.0939 | 0.1338
| Max Absolute Error | 2.7525 | 4.1471 | 3.2361 | 3.3607 | 3.1209 |  | Max Absolute Error | 0.4912 | 0.5164
table 2
Five zone with HVAC and considering extra factors | [6 empty] | Note: All values are in Deg. Celsius
|  | SPACE 1 | SPACE 2 | SPACE 3 | SPACE 4 | SPACE 5 |  | Table 1: Order = 50
Testing | Relative RMS Error | 0.0153 | 0.0167 | 0.0132 | 0.0139 | 0.0088 |  | Table 2: Order = 40
| Max Relative Error | 0.0792 | 0.0948 | 0.0759 | 0.0788 | 0.0598 |  | Table 3: Order = 40
| Absolute RMS Error | 0.3297 | 0.362 | 0.2742 | 0.2919 | 0.19
| Max Absolute Error | 1.7938 | 2.0272 | 1.631 | 1.6794 | 1.3117
Validation | Relative RMS Error | 0.032 | 0.0333 | 0.0187 | 0.0203 | 0.0145
| Max Relative Error | 0.1594 | 0.169 | 0.0786 | 0.093 | 0.065
| Absolute RMS Error | 0.7247 | 0.752 | 0.3947 | 0.4352 | 0.3187
| Max Absolute Error | 4.3228 | 4.6669 | 1.6876 | 2.0009 | 1.4297