## Slide 1
HVAC 5 Zone Fan Coil
This model has 5 zones

## Slide 2
https://energyplus.net/sites/default/files/docs/site_v8.3.0/InputOutputReference/02-HVACTemplates/

## Slide 3
Chart: Time(Hourly)
| 01/14 01:00:00 | 01/14 02:00:00 | 01/14 03:00:00 | 01/14 04:00:00 | 01/14 05:00:00 | 01/14 06:00:00 | 01/14 07:00:00 | 01/14 08:00:00 | 01/14 09:00:00 | 01/14 10:00:00 | 01/14 11:00:00 | 01/14 12:00:00 | 01/14 13:00:00 | 01/14 14:00:00 | 01/14 15:00:00 | 01/14 16:00:00 | 01/14 17:00:00 | 01/14 18:00:00 | 01/14 19:00:00 | 01/14 20:00:00 | 01/14 21:00:00 | 01/14 22:00:00 | 01/14 23:00:00 | 01/14 24:00:00
outside temperature | 8.85 | 8.4875 | 8.2125 | 8.1125 | 8.675 | 8.2125 | 7.425 | 7.2 | 6.8875 | 7.0125 | 7.575 | 8.8 | 10.4625 | 10.7875 | 10.6 | 10.9125 | 11.7875 | 11.8875 | 11.325 | 10.7875 | 10.9125 | 11.475 | 11.7 | 11.0125

## Slide 4
Chart: Time(Hourly)
| 01/14 01:00:00 | 01/14 02:00:00 | 01/14 03:00:00 | 01/14 04:00:00 | 01/14 05:00:00 | 01/14 06:00:00 | 01/14 07:00:00 | 01/14 08:00:00 | 01/14 09:00:00 | 01/14 10:00:00 | 01/14 11:00:00 | 01/14 12:00:00 | 01/14 13:00:00 | 01/14 14:00:00 | 01/14 15:00:00 | 01/14 16:00:00 | 01/14 17:00:00 | 01/14 18:00:00 | 01/14 19:00:00 | 01/14 20:00:00 | 01/14 21:00:00 | 01/14 22:00:00 | 01/14 23:00:00 | 01/14 24:00:00
space1 | 20.2444 | 19.9947 | 19.8975 | 19.8015 | 19.7741 | 19.6699 | 19.545 | 22.8833 | 22.9999 | 23.0001 | 22.9997 | 23.0183 | 23.1882 | 23.9554 | 24.0013 | 23.9995 | 23.924 | 23.3864 | 23.0144 | 23.0001 | 23 | 21.8967 | 20.9387 | 20.6238
space2 | 20.2885 | 20.0362 | 19.917 | 19.8225 | 19.7856 | 19.6878 | 19.5767 | 22.8932 | 22.9995 | 22.9996 | 23.1068 | 23.7621 | 23.9882 | 23.9998 | 23.9813 | 23.8218 | 23.3801 | 23.0569 | 23.0011 | 23 | 23 | 21.9025 | 20.9758 | 20.6577
space3 | 20.203 | 19.9571 | 19.8546 | 19.7683 | 19.753 | 19.6504 | 19.5381 | 22.8807 | 22.9999 | 23 | 22.9999 | 22.9995 | 23.0002 | 23.309 | 23.4021 | 23.3914 | 23.0654 | 23.0005 | 23 | 23 | 23 | 21.8644 | 20.8933 | 20.5903
space4 | 20.2889 | 20.0426 | 19.9217 | 19.8196 | 19.7891 | 19.6881 | 19.5837 | 22.8945 | 22.9995 | 23.0001 | 23.0001 | 22.9998 | 23.0003 | 23.3262 | 23.5143 | 23.8083 | 23.5864 | 23.1496 | 23.0061 | 23.0003 | 23 | 21.9082 | 20.9808 | 20.6581
space5 | 21.2682 | 21.1019 | 21.0249 | 20.9488 | 20.8967 | 20.785 | 20.7005 | 22.933 | 23.0002 | 23.0001 | 22.9995 | 23.0001 | 23.0006 | 23.1412 | 23.395 | 23.4667 | 23.4083 | 23.3478 | 23.0176 | 23 | 23.0001 | 22.529 | 21.8722 | 21.568

## Slide 5
Chart: Time(Hourly)
| 07/07 01:00:00 | 07/07 02:00:00 | 07/07 03:00:00 | 07/07 04:00:00 | 07/07 05:00:00 | 07/07 06:00:00 | 07/07 07:00:00 | 07/07 08:00:00 | 07/07 09:00:00 | 07/07 10:00:00 | 07/07 11:00:00 | 07/07 12:00:00 | 07/07 13:00:00 | 07/07 14:00:00 | 07/07 15:00:00 | 07/07 16:00:00 | 07/07 17:00:00 | 07/07 18:00:00 | 07/07 19:00:00 | 07/07 20:00:00 | 07/07 21:00:00 | 07/07 22:00:00 | 07/07 23:00:00 | 07/07 24:00:00
outside temperature | 13.8625 | 13.05 | 12.7125 | 12.35 | 12.575 | 13.1125 | 13.675 | 14.15 | 14.4875 | 14.85 | 15.6875 | 16.7875 | 17.8875 | 18.425 | 18.625 | 18.825 | 18.2125 | 17.1125 | 16.0125 | 15.6 | 15.6 | 15.6 | 15.35 | 14.95

## Slide 6
Chart: Time(Hourly)
| 07/07 01:00:00 | 07/07 02:00:00 | 07/07 03:00:00 | 07/07 04:00:00 | 07/07 05:00:00 | 07/07 06:00:00 | 07/07 07:00:00 | 07/07 08:00:00 | 07/07 09:00:00 | 07/07 10:00:00 | 07/07 11:00:00 | 07/07 12:00:00 | 07/07 13:00:00 | 07/07 14:00:00 | 07/07 15:00:00 | 07/07 16:00:00 | 07/07 17:00:00 | 07/07 18:00:00 | 07/07 19:00:00 | 07/07 20:00:00 | 07/07 21:00:00 | 07/07 22:00:00 | 07/07 23:00:00 | 07/07 24:00:00
space1 | 22.0649 | 21.8389 | 21.7081 | 21.6034 | 21.5455 | 21.5737 | 21.7061 | 22.9826 | 23.3225 | 23.9578 | 23.9994 | 24.0004 | 24.0012 | 23.9999 | 24.0003 | 24.0003 | 23.999 | 23.9993 | 23.9407 | 23.1368 | 23.0001 | 22.8719 | 22.5368 | 22.3003
space2 | 22.1259 | 21.9129 | 21.7769 | 21.667 | 21.6015 | 21.6517 | 21.9358 | 22.9778 | 23.7861 | 23.9985 | 24.0006 | 24.0012 | 24.0008 | 23.9999 | 23.9999 | 24.0005 | 23.9996 | 24.001 | 23.9859 | 23.2572 | 23.0026 | 22.9388 | 22.602 | 22.3551
space3 | 22.0525 | 21.8352 | 21.7039 | 21.5975 | 21.5408 | 21.611 | 21.9177 | 22.9874 | 23.7727 | 23.9983 | 24.0004 | 24.0007 | 24.0002 | 24.0005 | 24.0001 | 23.9996 | 23.9996 | 23.9997 | 23.9587 | 23.1562 | 23 | 22.8613 | 22.5161 | 22.2789
space4 | 22.1449 | 21.9214 | 21.7806 | 21.6687 | 21.6005 | 21.6365 | 21.8284 | 22.969 | 23.4794 | 23.9693 | 23.9985 | 24.0005 | 24.0001 | 23.9997 | 23.9995 | 24.0016 | 24.0001 | 23.9998 | 24.0004 | 23.5196 | 23.0358 | 23.0247 | 22.6617 | 22.391
space5 | 22.879 | 22.6987 | 22.6059 | 22.5312 | 22.4735 | 22.4355 | 22.426 | 22.9945 | 23.4727 | 23.981 | 24.0003 | 23.9996 | 23.9991 | 23.9998 | 24.0009 | 24 | 23.9989 | 24.0005 | 23.9858 | 23.2096 | 23.0006 | 23.3826 | 23.3056 | 23.0782

## Slide 7: Select power for the input
For HVAC system, there are different loops, such as air loop, water loop and gas loop. So we need to decide which power need to be considered for our model.
For the air system:
Zone Air System Sensible Cooling Rate (W): Overall sensible cooling energy to the zone from the HVAC system
Zone/Sys Sensible Heating Rate [W]: Overall sensible heating energy to the zone from the HVAC system
http://www.designbuilder.co.uk/helpv3/Content/Calculation_of_DesignBuilder_Output_from_EnergyPlus_Report_Variables.htm

## Slide 8: Loops in HVAC
Plant and Condenser loop
Demand and supply loop

## Slide 9: Loops in HVAC
Single duct air loop
Dual duct air loop
http://www.designbuilder.co.uk/helpv3/Content/Detailed%20HVAC/Understanding%20HVAC%20Loops.htm

## Slide 10
Chart: Time(Hourly)
| 01/14 01:00:00 | 01/14 02:00:00 | 01/14 03:00:00 | 01/14 04:00:00 | 01/14 05:00:00 | 01/14 06:00:00 | 01/14 07:00:00 | 01/14 08:00:00 | 01/14 09:00:00 | 01/14 10:00:00 | 01/14 11:00:00 | 01/14 12:00:00 | 01/14 13:00:00 | 01/14 14:00:00 | 01/14 15:00:00 | 01/14 16:00:00 | 01/14 17:00:00 | 01/14 18:00:00 | 01/14 19:00:00 | 01/14 20:00:00 | 01/14 21:00:00 | 01/14 22:00:00 | 01/14 23:00:00 | 01/14 24:00:00
space1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50.1413 | 242.7631 | 1068.3727 | 1411.1914 | 1643.5609 | 1610.2577 | 2005.2107 | 2039.0984 | 2437.7133 | 1585.6518 | 1395.1519 | 613.6626 | 73.8048 | 0 | 0 | 0 | 0
space2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 209.6119 | 623.3512 | 863.2337 | 907.9466 | 786.6177 | 832.7374 | 754.096 | 712.7271 | 619.5545 | 583.8675 | 242.7935 | 17.7639 | 0 | 0 | 0 | 0
space3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45.0179 | 320.2372 | 1171.5144 | 1467.462 | 1538.5891 | 1385.8606 | 1572.5253 | 1602.2277 | 1553.0478 | 1339.4416 | 1215.973 | 491.0379 | 21.9636 | 0 | 0 | 0 | 0
space4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 118.3454 | 508.9871 | 650.1829 | 689.5331 | 628.1641 | 713.5957 | 731.6043 | 739.6478 | 623.1406 | 592.2275 | 253.0531 | 22.9587 | 0 | 0 | 0 | 0
space5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.3727 | 1533.4467 | 2636.1579 | 2890.3347 | 2783.2023 | 2317.2857 | 2825.6379 | 2936.4466 | 2870.0807 | 2646.736 | 2605.352 | 1483.8704 | 691.4637 | 564.0557 | 0 | 0 | 0

## Slide 11
Chart: Time(Hourly)
| 01/14 01:00:00 | 01/14 02:00:00 | 01/14 03:00:00 | 01/14 04:00:00 | 01/14 05:00:00 | 01/14 06:00:00 | 01/14 07:00:00 | 01/14 08:00:00 | 01/14 09:00:00 | 01/14 10:00:00 | 01/14 11:00:00 | 01/14 12:00:00 | 01/14 13:00:00 | 01/14 14:00:00 | 01/14 15:00:00 | 01/14 16:00:00 | 01/14 17:00:00 | 01/14 18:00:00 | 01/14 19:00:00 | 01/14 20:00:00 | 01/14 21:00:00 | 01/14 22:00:00 | 01/14 23:00:00 | 01/14 24:00:00
space1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1910.9493 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6965 | 69.2946 | 0 | 0 | 0
space2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 810.5608 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.3377 | 44.4317 | 0 | 0 | 0
space3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1879.7663 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25.6608 | 110.6369 | 0 | 0 | 0
space4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 853.5089 | 0.88194 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.661 | 40.7779 | 0 | 0 | 0
space5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1737.8577 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Slide 12
Chart: Time(Hourly)
| 07/07 01:00:00 | 07/07 02:00:00 | 07/07 03:00:00 | 07/07 04:00:00 | 07/07 05:00:00 | 07/07 06:00:00 | 07/07 07:00:00 | 07/07 08:00:00 | 07/07 09:00:00 | 07/07 10:00:00 | 07/07 11:00:00 | 07/07 12:00:00 | 07/07 13:00:00 | 07/07 14:00:00 | 07/07 15:00:00 | 07/07 16:00:00 | 07/07 17:00:00 | 07/07 18:00:00 | 07/07 19:00:00 | 07/07 20:00:00 | 07/07 21:00:00 | 07/07 22:00:00 | 07/07 23:00:00 | 07/07 24:00:00
space1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 62.8982 | 1122.2897 | 1609.5556 | 2005.3188 | 2152.3791 | 2016.9577 | 2411.9783 | 2613.6704 | 2557.7989 | 2249.4464 | 1993.0227 | 1040.1107 | 822.4749 | 575.7573 | 0 | 0 | 0
space2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47.9846 | 647.6647 | 1062.4964 | 1399.3875 | 1452.965 | 1209.9527 | 1263.5743 | 1291.5327 | 1225.6388 | 1081.0518 | 964.5617 | 499.9463 | 377.8916 | 276.1113 | 0 | 0 | 0
space3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 116.5424 | 1311.0725 | 1986.097 | 2341.8451 | 2465.959 | 2239.1957 | 2579.4071 | 2727.6487 | 2626.0859 | 2325.2201 | 2082.7882 | 1071.868 | 828.4331 | 576.8199 | 0 | 0 | 0
space4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.0367 | 533.1773 | 803.4736 | 1004.2742 | 1098.8934 | 1020.8849 | 1288.9718 | 1627.0023 | 1847.6872 | 1711.2717 | 1433.106 | 688.8693 | 402.8498 | 318.4804 | 0 | 0 | 0
space5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 109.8381 | 2074.1446 | 2967.0261 | 3268.0495 | 3201.0525 | 2757.5492 | 3338.6598 | 3624.1524 | 3577.2836 | 3302.1974 | 3248.4681 | 1929.9846 | 1680.2234 | 1401.6523 | 0 | 0 | 0

## Slide 13
Chart: Time(Hourly)
| 07/07 01:00:00 | 07/07 02:00:00 | 07/07 03:00:00 | 07/07 04:00:00 | 07/07 05:00:00 | 07/07 06:00:00 | 07/07 07:00:00 | 07/07 08:00:00 | 07/07 09:00:00 | 07/07 10:00:00 | 07/07 11:00:00 | 07/07 12:00:00 | 07/07 13:00:00 | 07/07 14:00:00 | 07/07 15:00:00 | 07/07 16:00:00 | 07/07 17:00:00 | 07/07 18:00:00 | 07/07 19:00:00 | 07/07 20:00:00 | 07/07 21:00:00 | 07/07 22:00:00 | 07/07 23:00:00 | 07/07 24:00:00
space1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 347.2839 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
space2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60.3635 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
space3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 166.3984 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
space4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 99.664 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
space5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 262.9672 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0